## Slide 1: How can physicists explore the particle world?(III)
Junji Haba (KEK)
Moscow International School of Physics
2019

## Slide 2: Life time measurement using decay vertex
Life time is measured through “decay length “ L,
L= c b g t
Useful to identify heavy flavor with longer life
\\\
L
Needs highest precision tracking

## Slide 3: Vertex detector

## Slide 4: Silicon strip detector

## Slide 5: ATLAS SCT
ATLAS
Web page

## Slide 6
－
－
－
－
－
－
－
－
－
－
－
－
＋
＋
＋
＋
＋
＋
＋
＋
＋
＋
＋
＋
P type semiconductor
acceptor
－
hole
N type semiconductor
+
donor
electron
Reverse bias
Depletion layer
Principle of semiconductor detector
No recombination
Large signal (~10,000 electron)
thanks to small gap energy
Higher mobility

## Slide 7: Starting with a silicon wafer
http://ferrotec-global.com/

## Slide 8
https://www.nikon.com/products/semi/technology/story02.htm

## Slide 9
https://www.nikon.com/products/semi/technology/story02.htm

## Slide 10
https://www.nikon.com/products/semi/technology/story02.htm

## Slide 11
https://www.nikon.com/products/semi/technology/story02.htm

## Slide 12: Doping using a small accelerator
https://www.nikon.com/products/semi/technology/story02.htm
p dopant
n dopant

## Slide 13
https://www.nikon.com/products/semi/technology/story02.htm

## Slide 15: Problem of strip detector/ Occupancy at high luminosity colliders
Higher occupancy means more fakes in the region of interest (ROI) which is defined by outer tracking device with a finite resolution.
Association with fake cause a wrong reconstruction
Occupancy directly relates loss of
sound (useful) sample
True signal
Fake by noise or BKG
Fake
Fake

## Slide 16: So many candidate pairs !

## Slide 17: Operation under high background

## Slide 18: Pixel detector
Occupancy can be reduced dramatically with a pixel detector
Hybrid pixel
  ATLAS, CMS, ALICE
Monolithic pixel
  CCD
  CMOS
  Active pixel
  DEPFET
  SOI

## Slide 19: Hybrid pixel
Flip-chip assembly
Pixel detector bump bonded
to a read-out chip
F.Riggi, ST-INFN-CERN Workshop, 23-24 October 2002
Relatively thick !
Signal fed vertically
Number of readout~n2

## Slide 20: Multiple Coulomb scattering
e
Multiple scattering deteriorates
precise tracking

## Slide 21: Practical formula

## Slide 22: Vertex resolution deteriorated by material
Belle
ATLAS
LHCb
Alice
ILD

## Slide 23: Monolithic pixel for thinner detector
CCD ( realized in the SLD experiment)
Readout electronics built on sensor
No bump bonding over sensing area
SLAC ウェブページより抜粋

## Slide 24: CMOS MAPS
STAR PXL detector
•High resistivity p-epi layer
•Rolling shutter readout
•End-of-column discriminators
•MIP Signal ~ 1000 e- - S/N ~ 30
•185.6 μs integration time
•~170 mW/cm² power
•50 μm thick
•~1M pixel on (2×2) cm2
•in-pixel amplifier &
Correlated Double Sampling
Very successful
Not yet satisfactory

## Slide 25: One of promising new candidates: Monolithic pixel sensor using SOI
Monolithic pixel sensor
  Silicon sensor with read out CMOS electronics on chip
SOI: Silicon-On-Insulator
My very personal view

## Slide 26
SOI Performance : Smaller Junction Capacitance
Cj is 1/10 of Bulk technology.
Gate Capacitance is 30-40% Lower.
High Speed / Low Power
26

## Slide 27: Thinner than Hybrid pixel applied in the LHC experiment
No bump bonding at all
Full Deplete
(Hi-R)
Hybrid Detector
Full Deplete
(Hi-R)
Silicon-On-Insulator (SOI)

## Slide 28
II. SOI Pixel development

## Slide 29
MOS Tr
Main Issue in the SOIPIX:
Back-Gate Effect
Detector Voltage act as a Back Gate of the Transistors, and open back channel.
shift
back channel open

## Slide 30
BPW Implantation
Suppress the Back Gate Effect.
Shrink pixel size without loosing sensitive area.
Increase break down voltage with low dose region.
Reduce electric field in the BOX which improve radiation hardness.
BPW
P+
SOI Si
Buried
Oxide
(BOX)
Cut Top Si and BOX
High Dose
Keep Top Si not affected
Low Dose
Substrate Implantation
Pixel
Peripheral
Buried p-Well (BPW)

## Slide 31
Ids-Vgs and BPW
w/o BPW
with BPW=0V
NMOS
Back-gate effect is completely suppressed by the BPW.
shift
back channel open

## Slide 32
Issues in SOI detector
Sensor and Electronics are located very near. This cause ..
Then we newly introduced additional conductive layer under the transistors to reduce all effects ( Double SOI).
BPW
At first, we successfully introduced BPW layer to remove the back gate effect.

## Slide 33
Double SOI
Shield Crosstalk
Compensate radiation induced oxide charge
Single SOI
From Single SOI to Double SOI

## Slide 34
Transistor
Sensor
Contact
Middle Si
Contact
Metal 5
Middle Si
Metal 1
Cross section of the Double SOI Pixel

## Slide 35
(by Lu Yunpeng (IHEP))
Shield:
Cross Talk between Circuit and Sensor is reduced to 1/20.
Single SOI
Double SOI
Effect of Double SOI
Cross Talk from Clock line

## Slide 36
Coupling:
Gain of Charge Amp increases ~3 times by cutting parasitic C.
Effect of Double SOI
Single SOI
5fF
Double SOI
5fF
Gain
49.2uV/e-
Gain
15.3uV/e-
Am241

## Slide 37: Gamma-ray Irradiation Test (Id-Vg Characteristics v.s. SOI2 Potential)
NMOS
By setting Middle Si potential (Vsoi2） to -5V, Id-Vg curve returned nearly to pre-irradiation value at 100 kGy(Si) (10 Mrad).
VSOI2=0V
VSOI2=-2V
VSOI2=-5V
Vg[V]
Vg[V]
Vg[V]
Id[A]
Id[A]
Id[A]
0 kGy
0 kGy
0 kGy
I/O normal Vth Source-Tie Tr.
L/W =0.35um/5um
100 kGy
100 kGy
(by U. of Tsukuba)

## Slide 38: Radiation tolerance up to 500 krad. level
It will survive in e+e- collider like SuperKEKB, ILC

## Slide 39
Pix size 8um
No bump bonding
Springer Proc.Phys. 213 (2018) 331-338

## Slide 41: High functionality On-Chip

## Slide 44
Pixel
Mask Layout
Exposed Layout
Blind
Blind
Stitching Exposure for Large Sensor

## Slide 45
22kV 200uA Target Cu Kα 8keV
1000 shot averaged
0.5 photon/pix/shot
64.8mm (2160 pix)
26.7mm (891pix)
Pix size : 30um×30um
1.9M pixels !!
Beautiful
High gain Image!
SOPHIAS

## Slide 46
Monolithic pixel sensor will be a standard tracking device in near future
SOI pixel sensor is one of the most promising technologies among them

## Slide 47: How can physicists explore the particle world?(III+)
real

## Slide 48: Applications of HEP detector technology to society
At Hospitals…
  X-ray, g-ray, ＰＥＴ diagnosis, Cancer therapy
At Aiports or Boarder gates….
  X-ray inspection
At factories, infrastructures as bridges, power plants….
  X-ray or Neutron Non–destructive defect/damage inspection
At the Fukushima site
  Mapping and Identification of radioactive substances

## Slide 49: X-ray

## Slide 50: X-ray imaging device with the most advanced technology developped in Particle detectors

## Slide 51: For safety Flights:

## Slide 52: 3D X-ray CT
Sensor chip INTPIX4 NFZ (5JA-FZ-1407) Back illumination
HV：200V、integration/frame：1ms、ScanTime：320ns/pix
Calibration：500frame、Event：1000frame
X-ray energy：9.5keV
(by R. Nishimura, K. Hirano)

## Slide 53: Gamma Ray

## Slide 54: Standard Gamma “camera”
Not very efficient. Most of gamma rays are absorbed in collimators.

## Slide 55: Scintigraphy
Blood flow can be observed externally by radio isotope (RI) labelling.
Imaging of radiation from RI by particle detectors.
撮像３０分とのこと
After exercise
At rest

## Slide 56: Further attempt: Compton camera

## Slide 57
Application of Gamma camera developed for Gamma ray astronomy
to Fukushima NP restoration
平成24年11月15日
宇宙航空研究開発機構 三菱重工業株式会社 国立大学法人 名古屋大学 独立行政法人 科学技術振興機構

## Slide 59: Very useful for medical application ＰＥＴ（Positron Emission Tomography ）
glucose
Cancer
tissue
Normal
tissue

## Slide 60: Just like a barrel calorimeter of collider detectors
From the photo gallery cmsinfo.cern.ch
Higher resolution/efficiency can make
exposure dose less.

## Slide 61: PET g detector module
© Siemens AG

## Slide 62: Neutron

## Slide 63: Imaging with neutron beam
Non-invasive studies of objects from cultural heritage
(photo: example of Sakyamuni, Bhumisparsa Mudra, West-tibet, 14.- 15. century).
Left: X-ray image
Right: Neutron imaging. Organic material buried inside , invisible with X-ray, can be visualized by neutron.

## Slide 64: Application to Neutron Detector
Expensive 3He Gas is not necessary.
  No pressure vessel
Free readout pattern
High resolution
  Position and Time
Insensitive against g-ray
Capability against high counting rate
Normal GEM
B10 coated
GEMs
Readout board
Cathode plate
With B10
Ar-CO2

## Slide 65: Pulse neutron and Energy Selective Neutron Radiography
Bragg Edge
region
(Thermal and cold)
Resonance absorption region (E>1eV)
l

## Slide 66: Imaging for bended iron plates at LINAC in Hokkaido University
674cm
Moderator
GEM
Detector
Sample
70cm
504cm
100cm
Flight tube
30°Bend
90°Bend
90°Bending
and Re-flattening
60°Bend
Sample
+Reference
（without bending）

## Slide 67: Results
Two dimensional imaging of crystallite size in the bended iron plates
can be done clearly.
Visualization of microstructure for heavy material can be performed with the gaseous neutron detector.
Photo of iron plates
Position X (mm)
Position Y (mm)
90° Bending
60° Bending
30° Bending
Reference
Re-flattening

## Slide 68: Others

## Slide 69: See through mega structure using cosmic ray muons
東大地震研HPより
K.Morishima (Nagoya U.)

## Slide 70: Low energy negative muon can probe inside material
3D imaging of
material
composition

## Slide 71: Summary
Huge detector system for HEP is very important tool to investigate Law of Nature together with a large accelerators.
The system is composed of tens of advanced radiation measurement systems.
Breakthrough of new physics will be established by clever physicists taking advantage of the most advanced detector system at the time. Advanced detector might make something impossible possible, infinitely high cost reasonable…

## Slide 72: Summary contd.
The advanced detector technology originally developed for particle physics are now being applied to innovate the instrumentations in society like medical or industrial equipment. Higher resolution, higher sensitivity and lower dose exposure for human is expected.
Those “advanced” system enables very quick diagnose with higher precision and much less radiation dose. They are also very useful to visualize the hidden structure /defect /dangerous substance inside material clearly.